**Probe Thermometer Calibration Record**

**Probe Thermometer Details: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer Reading Iced Water** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer Reading Boiling Water** |  |  |  |  |  |  |  |  |  |  |
| **Corrective Action** |  |  |  |  |  |  |  |  |  |  |
| **Signature** |  |  |  |  |  |  |  |  |  |  |

**NOTE**: Iced water slurry should be -1ºC to 1ºC;

 Boiling water should be between 99ºC and 101ºC;

 If outside these parameters the unit should be recalibrated by a NATA certified laboratory or replaced.

**Probe Thermometer Details: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Date** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer Reading Iced Water** |  |  |  |  |  |  |  |  |  |  |
| **Thermometer Reading Boiling Water** |  |  |  |  |  |  |  |  |  |  |
| **Corrective Action** |  |  |  |  |  |  |  |  |  |  |
| **Signature** |  |  |  |  |  |  |  |  |  |  |